## Sheet1
HVAC Maintenance Checklist
Location
Building
ID #
Completed By
Date
Task | Comment | Done
Regular Filter Replacement | Check and replace air filters every 1-3 months
Thermostat Maintenance | Inspect and calibrate the thermostat
Indoor Unit Inspection | Check for any visible signs of damage or leaks
Outdoor Unit Maintenance | Remove any debris, leaves, or vegetation
Condensate Drain Cleaning | Clear the condensate drain line
Check Electrical Connections | Inspect electrical connections, wiring, and components
Lubricate Moving Parts | Lubricate motor bearings and other moving parts
Check Refrigerant Levels | Monitor refrigerant levels
Test System Performance | Run a test cycle
Schedule Professional Maintenance | Annual or bi-annual maintenance visits